Version 1.0

2024/10/14

FLIR Android BLE SDK TEST PLAN

Presented by: Alex hung – QA lead

KENNY TSENG – QA ENGINEER

Review by: jonathan chang – project manager

Table of Contents

introduction	3

test objective	3

test scope	3

to be tested	3

out of scope	3

Assumptions and risks	4

assumptions	4

risks	4

Scheudle & resource	4

test schedule & human resource	4

CRITERIA	4

Extry ctiteria	4

Exit ctiteria	4

Test approach	5

Test deliverables	5

# introduction

This test plan outlines the scope, approach, resources, schedule, and criteria for testing the Meterlink SDK. It also addresses potential risks associated with the project and specifies the criteria required for both entry into and completion of the testing process.

# test objective

The objective of this test plan is to ensure that the FLIR Android SDK functions as expected, meets the specified requirements, and is free of critical defects.

# test scope

The following features of the FLIR Android SDK build in demo app will be tested:

## to be tested

Installation and setup across supported platform.

Able to scan Meterlink 3.0 and 4.0 devices.

Able to connect/disconnect.

Get devices information.

Get the data from device and follow Meterlink 3.0 and 4.0 protocol.

File transfer.

## out of scope

Meterlink devices that are beyond the reach of BCT (i.e., inaccessible, or unsupported devices).

Compatibility with different OS versions and hardware.

Security and performance aspects, which will not be covered in this testing cycles.

# Assumptions and risks

## assumptions

Testing will only be conducted on one M3 and one M4 device.

Development teams will provide prompt support for resolving any critical bugs during the testing phase.

Only test on one BCT’s Android test device with Android OS 14+, for the OS versions below 14 won’t be guaranteed works expectedly.

## risks

- Limited access to certain Meterlink devices could delay testing.

- Any delays in providing hardware or resources might impact the overall test schedule.

- The UAT (User Acceptance Testing) device may differ from the testing device, potentially leading to unforeseen compatibility or performance issues that were not identified during the initial testing phase.

# Schedule & resource

### test schedule & human resource

- Test planning to prepare test plan document and test cases: 2 days.

- Functional testing: 3 days

- Bug verification: 1 day

- Regression testing: 2 days

# CRITERIA

## Entry ctiteria

- Requirements are finalized and locked down.

- All user stories and RD tasks are completed.

- Code review is finished, and no major defects are present.

## Exit ctiteria

- 100% of the planned test cases have been executed.

- No critical or high-priority bugs remain unresolved.

# Test approach

The development process follows the Waterfall model, where each phase of development is completed sequentially. QA testing will primarily be conducted through manual black-box testing, focusing on validating the functionality and ensuring the SDK behaves as expected from an end-user perspective.

# Test deliverables

Test deliverables are provided as below

- Test plan

- Test report with test result and issue list